## Slide 1: Convolutional Neural Network Approach for COVID-19 Detection Author: Emrah Irmak
Presented by Huan Li, Fabio Pecora, and Abayomi Shosilva

## Slide 2: ABSTRACT
Identify COVID-19 (binary & multi-class classification)
Accuracy of Models (98.92% & 98.27%)
No Manual Extraction of Diseased Area
Most Extensive Clinical Dataset for COVID-19 (1524, 1527, 1524)
Hyperparameters Optimized With Grid Search

## Slide 3: Introduction
COVID-19 emerged in late 2019, creating a global health crisis.
Traditional diagnosis methods like RT-PCR have limitations, including time consumption and susceptibility to errors.
This study leverages Convolutional Neural Networks (CNNs) for automated and efficient diagnosis using chest X-ray images.

## Slide 4: Study Objectives
1. To design a robust and reliable computer-assisted diagnostic (CAD) system for early COVID-19 detection.
2. To utilize the largest possible dataset of COVID-19 X-ray images.
3. To classify images into three categories: Normal, Pneumonia, and COVID-19.

## Slide 5: Methodology
Two CNN architectures designed for:
  Task 1: Binary classification (COVID-19 positive vs. negative) with 12 weighted layers.
  Task 2: Multiclass classification (Normal, Pneumonia, COVID-19) with 14 weighted layers.
Grid Search Optimizer used to determine optimal hyperparameters.
Dataset used with 4,575 chest X-ray images:
  1,524 COVID-19 images
  1,527 pneumonia images
  1,524 normal images

## Slide 6: Results and Performance
Task 1: Binary Classification
- Accuracy: 98.92%.
- Area Under Curve (AUC): 0.9957.
Task 2: Multiclass Classification
- Accuracy: 98.27%.
  - Demonstrated effectiveness for large clinical datasets.
The study outperformed existing state-of-the-art methods.
- Togacar et al.: 99.27% accuracy (small dataset).
- Ozturk et al.: 87.02% for multiclass classification.
This study utilized the largest dataset and achieved state-of-the-art performance.

## Slide 7: Conclusion
• Two novel CNN models successfully detect and classify COVID-19 from chest X-rays.
• High accuracy and robustness achieved for binary and multiclass tasks. Providing a rapid, accurate alternative to traditional methods.
• Demonstrates potential for broader medical imaging applications.

## Slide 8: Future Ideas
Integrating other imaging modalities (e.g., varying disease severities).
Run on devices with limited resources (e.g., phones)
Improving Interpretability
Apply CNN to other diseases